## 2013
Redni broj | Naziv opreme | Donator | Model | Proizvođač | Količina | Vrednost | Isplaćena vrednost
1 | Pulsni oximetar | Kibid Zemun |  |  | 1 | 6372
2 | Pulsni oximetar | Kibid Zemun |  |  | 1 | 6372
3 | Pulsni oximetar | Kibid Zemun |  |  | 1 | 6372
4 | Pulsni oximetar | Kibid Zemun |  |  | 1 | 6372
5 | Pulsni oximetar | Kibid Zemun |  |  | 1 | 6372
6 | Volumetr. Inf. Pumpa | Fond B92 Beograd |  |  | 1 | 192800
7 | Volumetr. Inf. Pumpa | Fond B92 Beograd |  |  | 1 | 192800
8 | Volumetr. Inf. Pumpa | Fond B92 Beograd |  |  | 1 | 192800
9 | Volumetr. Inf. Pumpa | Fond B92 Beograd |  |  | 1 | 192800
10 | Volumetr. Inf. Pumpa | Fond B92 Beograd |  |  | 1 | 192800
11 | Volumetr. Inf. Pumpa | Fond B92 Beograd |  |  | 1 | 192800
12 | Bolnički krevet | Bsp Marković PVO |  |  | 1 | 29500
13 | Bolnički krevet | Bsp Marković PVO |  |  | 1 | 29500
14 | Bolnički krevet | Bsp Marković PVO |  |  | 1 | 29500
15 | Bolnički krevet | Bsp Marković PVO |  |  | 1 | 29500
16 | Router | Ministarstvo zdravlja prenos sa tuđ OS |  |  | 1 | 67070.48
17 | UPS | Ministarstvo zdravlja prenos sa tuđ OS |  |  | 1 | 26315.55
18 | Holter pritiska | Ministarstvo zdravlja prebačeno iz Vrbasa |  |  | 1 | 500000 | 300000
19 | Holter pritiska | Ministarstvo zdravlja prebačeno iz Vrbasa |  |  | 1 | 500000 | 300000
20 | Laptop | Ministarstvo zdravlja prebačeno iz Vrbasa |  | Dell | 1 | 34194.48 | 20516.7
21 | Fotelja za dijalizu | Fresenius medical care Srbija Vršac |  |  | 1 | 230000
22 | Inkubator trans. | Fond B92 Beograd |  |  | 1 | 1403262
23 | Inkubator | Fond B92 Beograd |  |  | 1 | 885894
24 | Inkubator trans. | Fond B92 Beograd |  |  | 1 | 1403262
25 | Pacijent monitor | Fond B92 Beograd |  |  | 1 | 535020
26 | Izvor kiseonika sa protoko. | Fond B92 Beograd |  |  | 1 | 42291
27 | Reanimacioni sto | Fond B92 Beograd |  |  | 1 | 1148961
28 | Bilirubinometar | Fond B92 Beograd |  |  | 1 | 367521
29 | Lampa za fototerapiju | Fond B92 Beograd |  |  | 1 | 227994
30 | Aspirator bronh. | Fond B92 Beograd |  |  | 1 | 64491
31 | Aspirator bronh. | Fond B92 Beograd |  |  | 1 | 64491
32 | Aspirator bronh. | Fond B92 Beograd |  |  | 1 | 64491
33 | Aspirator | Udruženje muzičara PVO |  |  | 1 | 64000
34 | Pulsni oximetar | Fond B92 Beograd |  |  | 1 | 95904
35 | Pulsni oximetar | Fond B92 |  |  | 1 | 95904
36 | Pulsni oximetar | Fond B92 |  |  | 1 | 95904
37 | Pulsni oximetar | Fond B92 |  |  | 1 | 95904
38 | Bolnički krevet | Stari Tamiš PVO |  |  | 1 | 32367.6
39 | Bolnički krevet | Stari Tamiš PVO |  |  | 1 | 32367.6
40 | Bolnički krevet | Stari Tamiš PVO |  |  | 1 | 32367.6
41 | Aparat za hemodijalizu | Fresenius medical care Srbija Vršac |  |  | 1 | 1000000
42 | Klima uređaj | Rasadnik Krga B. N. S. |  |  | 1 | 37990
43 | Aparat za omekšavanje vode | Medinka projekt Beograd |  |  | 1 | 63100
44 | Laringoskop za odrasle | Calenova cap Vršac Vršac |  |  | 1 | 21407.76
45 | Laringoskop za odrasle | Calenova cap Vršac |  |  | 1 | 21407.76
46 | Laringoskop za odrasle | Calenova cap Vršac |  |  | 1 | 21407.76
47 | Aparat za dijalizu | Fresenius medical care Srbija Vršac |  |  | 1 | 1000000
48 | Bronhijalni aspirator | Calenova cap Vršac |  |  | 1 | 49440
49 | Bronhijalni aspirator | Calenova cap Vršac |  |  | 1 | 49440
50 | Bronhijalni aspirator | Calenova cap Vršac |  |  | 1 | 49440
51 | Bronhijalni aspirator | Calenova cap Vršac |  |  | 1 | 49440
52 | Bronhijalni aspirator | Calenova cap Vršac |  |  | 1 | 49440
53 | Bronhijalni aspirator | Calenova cap Vršac |  |  | 1 | 49440
54 | Klima uređaj | Inopharm CO Beograd |  | Midea | 1 | 24000
55 | Klima uređaj | Nis rafinerija |  | Vivax | 1 | 40000
56 | Klima uređaj | Nis rafinerija |  | Galanz | 1 | 30000
57 | Klima uređaj | Nis rafinerija |  | Galanz | 1 | 30000
58 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
59 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
60 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
61 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
62 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
63 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
64 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
65 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
66 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
67 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
68 | Klima uređaj | Nis rafinerija |  | Galanz | 1 | 30000
69 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
70 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
71 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
72 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
73 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
74 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
75 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
76 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
77 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
78 | Klima uređaj | New city company Beograd |  | Venting | 1 | 30000
79 | Bolnički krevet | Deco titan Debeljača |  |  | 1 | 26460
80 | Bolnički krevet | Deco titan Debeljača |  |  | 1 | 26460
81 | Bolnički krevet | Vasiljević i sin PVO |  |  | 1 | 26460
82 | Bolnički krevet | Vasiljević i sin PVO |  |  | 1 | 26460
83 | Bolnički krevet | Vasiljević i sin PVO |  |  | 1 | 26460
84 | Noćni ormarić | Vasiljević i sin PVO |  |  | 1 | 11040
85 | Noćni ormarić | Vasiljević i sin PVO |  |  | 1 | 11040
86 | Noćni ormarić | Vasiljević i sin PVO |  |  | 1 | 11040
87 | Računar komplet | JKP Zelenilo PVO |  |  | 1 | 40000
88 | Računar komplet | JKP Zelenilo PVO |  |  | 1 | 40000
89 | Štampač | JKP Zelenilo PVO |  |  | 1 | 10000
90 | Štampač | JKP Zelenilo PVO |  |  | 1 | 10000
91 | Aparat za elektroterapiju | Elektronik Zemun |  |  | 1 | 34500
92 | Hemijski analizator | Labteh d.o.o Beograd |  |  | 1 | 580446.2
93 | Epson za analizator | Labteh d.o.o Beograd |  |  | 1 | 19799
94 | Sterilizator parni | Fond B92 Beograd |  |  | 1 | 9435000
95 | Mamograf radna stanica | Ministarstvo zdravlja Republike Srbije |  |  | 1 | 2415000
96 | Laringoskop za odrasle | Pharma swiss Beograd |  |  | 1 | 42399.6
97 | Aspirator | Pharma swiss Beograd |  | Vortex | 1 | 191820
98 | Bolnički krevet | Udruženje Krajišnika |  |  | 1 | 26460
99 | Bolnički krevet | Udruženje Krajišnika |  |  | 1 | 26460
100 | Bolnički krevet | Udruženje Krajišnika |  |  | 1 | 26460
101 | Noćni ormarić | Udruženje Krajišnika |  |  | 1 | 11040
102 | Noćni ormarić | Udruženje Krajišnika |  |  | 1 | 11040
103 | Noćni ormarić | Udruženje Krajišnika |  |  | 1 | 11040
104 | Bolnički krevet | Doo Snježana PVO |  |  | 1 | 26460
105 | Bolnički krevet | Doo Snježana PVO |  |  | 1 | 26460
106 | Bolnički krevet | Doo Snježana PVO |  |  | 1 | 26460
107 | Noćni ormarić | Doo Snježana PVO |  |  | 1 | 11040
108 | Noćni ormarić | Doo Snježana PVO |  |  | 1 | 11040
109 | Noćni ormarić | Doo Snježana PVO |  |  | 1 | 11040
110 | Bolnički krevet | Poliklinika Putnik PVO |  |  | 1 | 30000
11 | Radni pult | Poliklinika Putnik PVO |  |  | 1 | 10000
112 | Rekonstrukcija internog | Više donatora |  |  | 1 | 1846911.05
UKUPNO |  |  |  |  | 112 | 27728886.44

## 2014
Redni broj | Naziv opreme | Donator | Model | Proizvođač | Količina | Vrednost | Isplaćena vrednost
1 | Frižider | Pharma swiss d.o.o Beograd |  | Gorenje | 1 | 37990
2 | Autom. Elisa proces | Yunycom d.o.o Beograd sa tuđih OS |  |  | 1 | 60000 | 60000
3 | PC pentium 3 | Crveni krst sa tuđih OS |  |  | 1 | 71968.85 | 71968.85
4 | Laserski štampač | Crveni krst sa tuđih OS |  |  | 1 | 35678.34 | 35678.34
5 | Fotelja | Ino-pharm d.o.o Beograd |  |  | 1 | 8620
6 | Fotelja | Ino-pharm d.o.o Beograd |  |  | 1 | 8620
7 | Zidna polica | Ino-pharm d.o.o Beograd |  |  | 1 | 4420
8 | Noćni ormarić - komoda | Ino-pharm d.o.o Beograd |  |  | 1 | 8880
9 | Otvorena polica | Ino-pharm d.o.o Beograd |  |  | 1 | 5770
10 | Otvorena polica | Ino-pharm d.o.o Beograd |  |  | 1 | 5770
11 | Kompjuterski sto | Ino-pharm d.o.o Beograd |  |  | 1 | 12900
12 | Kompjuterski sto | Ino-pharm d.o.o Beograd |  |  | 1 | 12900
13 | Biohemijski analizator | Makler d.o.o Beograd |  |  | 1 | 4633200
14 | Hematološki brojač | Labteh d.o.o Beograd |  |  | 1 | 1932956.02
15 | Hodalica pilot | Kristina Bravo PVO |  |  | 1 | 10000
16 | Toaletna kolica | Kristina Bravo PVO |  |  | 1 | 12000
17 | Personalni računar | Kontrola tuberkuloze u Srbiji |  |  | 1 | 80976.12
18 | Monitor | Kontrola tuberkuloze u Srbiji |  | Dell | 1 | 13500
19 | Štampač | Kontrola tuberkuloze u Srbiji |  | Lexmark | 1 | 10081
20 | Centrif. Rotofix 32a | Pharma swiss d.o.o Beograd / Superlab d.o.o Beograd |  |  | 1 | 386400
21 | Kardiotokograf | Admidi BNS |  |  | 1 | 34800
22 | Pulsni oximetar | Rotary club PVO |  |  | 1 | 10000
23 | Aspirator | Više donatora HIP PVO |  |  | 1 | 26460
24 | Aspirator | Više donatora HIP PVO |  |  | 1 | 26460
25 | Klima uređaj | Stanko Kovačević |  | Vox | 1 | 20000
26 | Krevet za operacionu sobu | Megal doo PVO |  |  | 1 | 35000
27 | Klupa trosed | BSP MGM Marković PVO |  |  | 1 | 11000
28 | Klupa trosed | BSP MGM Marković PVO |  |  | 1 | 11000
29 | Kompjuterski sto | BSP MGM Marković PVO |  |  | 1 | 7000
30 | Sto niski | BSP MGM Marković PVO |  |  | 1 | 4500
31 | Stolica -Dragan | BSP MGM Marković PVO |  |  | 1 | 3600
32 | Stolica -Dragan | BSP MGM Marković PVO |  |  | 1 | 3600
33 | Stolica -Dragan | BSP MGM Marković PVO |  |  | 1 | 3600
34 | EKG | Više donatora | heart scr |  | 1 | 96000
35 | EKG | Sportsko udruženje MMA | cardi max |  | 1 | 150000
36 | EKG | Sportsko udruženje MMA | cardi max |  | 1 | 150000
37 | Defibrilator | Sportsko udruženje MMA |  |  | 1 | 204000
38 | Aspirator | Sportsko udruženje MMA |  |  | 1 | 39600
39 | Uvećanje lapar. Stub | Udruženje Krug PVO |  |  | 1 | 223092
40 | Sušara | KBC Zemun | s-35p |  | 1 | 250000
41 | Aparat za dijalizu | Fresenius medical care Srbija Vršac | Device |  | 1 | 1182436.2
42 | Imuno analayser | Makler d.o.o Beograd |  |  | 1 | 3225234
43 | Štampač laser | Makler d.o.o Beograd |  |  | 1 | 14776
44 | Inhalator comp | Astra Zenece Beograd |  |  | 1 | 11400
45 | Video kolonoskope. | Delegacija Eu |  |  | 1 | 4320176.4
UKUPNO |  |  |  |  | 45 | 10450134.6

## 2015
Redni broj | Naziv opreme | Donator | Model | Proizvođač | Količina | Vrednost
1 | Računar komplet | Božić i sin PVO |  |  | 1 | 8712
2 | Računar komplet | Božić i sin PVO |  |  | 1 | 8712
3 | Uvećanje autom. koagul. | Inter lab Beograd |  |  | 1 | 576220.02
4 | Frižider za čuvanje ins. | Nordisk pharma Beograd |  |  | 1 | 35990
5 | Klima uređaj | Richer Gedeon Nuyrt | Favorit |  | 1 | 32332
6 | Aparat za dijalizu | Fresenius medical care Srbija Vršac | device |  | 1 | 946928.4
7 | Aparat za dijalizu | Fresenius medical care Srbija Vršac | device |  | 1 | 946928.4
8 | Klima uređaj | Inter inžinjering Beograd | Haier |  | 1 | 45000
9 | Aparat za dijalizu | Fresenius medical care Srbija Vršac | Basic |  | 1 | 644987.2
10 | Aparat za dijalizu | Fresenius medical care Srbija Vršac | Basic |  | 1 | 644987.2
11 | Bolnički krevet | Krka Farme Beograd |  |  | 1 | 87600
12 | Klima uređaj | JKP Zelenilo PVO | Aux |  | 1 | 46320
13 | Urin analizator | Primax Beograd |  |  | 1 | 130800
14 | Bolnički krevet | Zora Krtinić PVO |  |  | 1 | 50000
15 | Klima uređaj | Žizni Beograd | TCL |  | 1 | 71590
16 | Bolnički krevet | Vasiljević i sin PVO | electro |  | 1 | 89400
17 | Bolnički krevet | Vasiljević i sin PVO | electro |  | 1 | 89400
18 | Klima uređaj | Ako med Beograd |  | Vox | 1 | 47038.82
19 | Klima uređaj | Pharma swiss d.o.o Beograd |  | Beko | 1 | 60702
20 | Klima uređaj | Pharma swiss d.o.o Beograd |  | Beko | 1 | 60702
21 | Klima uređaj | Pharma swiss d.o.o Beograd |  | Vox | 1 | 34188
22 | Klima uređaj | Pharma swiss d.o.o Beograd |  | Vox | 1 | 33480
23 | Frižider | Inpharm d.o.o Beograd |  | Gorenje | 1 | 17990
24 | Invalidska kolica | Kolarin Željko Panče |  |  | 1 | 3000
25 | Pumpa za entelal. ishra. | Kibid d.o.o Beograd |  |  | 1 | 50000
UKUPNO |  |  |  |  | 25 | 4763008.04

## 2016
Redni broj | Naziv opreme | Donator | Model | Proizvođač | Količina | Vrednost
1 | Računar komplet | Labor.infor sistema Beograd |  | Intel | 1 | 26758.8
2 | Hemo kontrol-zamena aparata | Yunycom d.o.o Beograd |  |  | 1 | 5290.62
3 | Dvodelni frižider | Makler d.o.o Beograd |  |  | 1 | 22990
4 | Plazma sterilizator | Makler d.o.o Beograd |  |  | 1 | 4670160
5 | Digitalna vaga za novorođenčad | Valerija Đakov |  |  | 1 | 2000
6 | Radni sto sa pokretnim fiokama | BSP MGN Pančevo |  |  | 1 | 19600
7 | Radni sto sa pokretnim fiokama | BSP MGN Pančevo |  |  | 1 | 19600
8 | Stolica - Dragan | BSP MGN Pančevo |  |  | 1 | 3200
9 | Stolica - Dragan | BSP MGN Pančevo |  |  | 1 | 3200
10 | Stolica - Dragan | BSP MGN Pančevo |  |  | 1 | 3200
11 | Stolica - Dragan | BSP MGN Pančevo |  |  | 1 | 3200
12 | Stolica za pacijente | BSP MGN Pančevo |  |  | 1 | 3950
13 | Stolica za pacijente | BSP MGN Pančevo |  |  | 1 | 3950
14 | Krevet za pregled | BSP MGN Pančevo |  |  | 1 | 12000
15 | Aparat za dijalizu | Fresenius medical care Srbija Vršac | device |  | 1 | 962428.5
16 | Testera za sečenje kostiju | Orthoaid Beograd |  |  | 1 | 1067280
17 | Inkubator | Makler d.o.o Beograd | 58c | Sterrad | 1 | 164505.18
18 | Varilica za folije | Makler d.o.o Beograd |  |  | 1 | 329724.88
19 | Aparat za hemodijalizu | Fresenius medical care Srbija Vršac | device |  | 1 | 964023.5
20 | Pulsni oximetar | Taurum med Dobanovci |  |  | 1 | 36936
21 | Aparat za hemodijalizu | Fresenius medical care Srbija Vršac |  | Fresenius | 1 | 970329.8
22 | Klima uređaj | Blic fondacija Beograd |  | Midea | 1 | 37990
23 | Klima uređaj | Blic fondacija Beograd |  | Midea | 1 | 37990
24 | Klima uređaj | Tamiška doo PVO |  | Vox | 1 | 37990
UKUPNO |  |  |  |  | 24 | 9408297.28

## 2017
Redni broj | Naziv opreme | Donator | Model | Proizvođač | Količina | Vrednost
1 | Reflektor | Filmska ekipa Beograd |  |  | 1 | 5000
2 | Reflektor | Filmska ekipa Beograd |  |  | 1 | 5000
3 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
4 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
5 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
6 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
7 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
8 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
9 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
10 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
11 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
12 | Računar komplet | Alfa banka Beograd |  | Dell | 1 | 2000
13 | Štampač | Alfa banka Beograd |  |  | 1 | 1000
14 | Bušilica sa dodatkom ortoped. | Orthoaid Beograd |  |  | 1 | 1626497.01
15 | Aparat UZ sa dve sonde | Bolnica Sorlandes Norveška | GE Vivid 7 |  | 1 | 800000
16 | Uz aparat | Više donatora | Ecube i7 |  | 1 | 1416000
17 | Uz aparat | Više donatora | Ecube I15 EX |  | 1 | 3439999.99
18 | Op-e-ćebe i 7 cart kolica | Više donatora |  |  | 1 | 144000
19 | UZ E cube | Orthoaid Beograd I Elita kop | 15-11 |  | 1 | 2898000
20 | Infuziona pumpa | Ambasada Ujedinjenih Arapskih Emirata |  |  | 1 | 141000
21 | Infuziona pumpa | Ambasada Ujedinjenih Arapskih Emirata |  |  | 1 | 141000
22 | EKG Holter recorder | Ambasada Ujedinjenih Arapskih Emirata | ar-4 | Medilog | 1 | 447330
23 | Aspiraciona pumpa sa bocom 4l | Paroco Novi Sad |  |  | 1 | 292800
24 | Laserski stub | Almex d.o.o Pančevo | Karl Storc |  | 1 | 6483883.36
25 | Ortoped s. ekstenzioni nastavak za operacioni sto | Šljunkara i Elita kop |  |  | 1 | 2254800
26 | EKG 3kanalni | Premium Beograd |  |  | 1 | 85020
27 | EKG 3kanalni | Premium Beograd |  |  | 1 | 85020
28 | Trinokularni mikroskop | Elita kop |  |  | 1 | 226560
29 | Binokularni laboratorisjki svetlosni mikroskop | Elita kop |  |  | 1 | 139800
30 | EL. nebulizator | Medi ray Beograd |  |  | 1 | 91644
31 | Aparat za dijalizu | Fresenius medical care Srbija Vršac | Device HD 5008S |  | 1 | 935397.1
UKUPNO |  |  |  |  | 31 | 21679751.46

## 2018
Redni broj | Naziv opreme | Donator | Model | Proizvođač | Količina | Vrednost
1 | EKG aparat | SZTR Đurđević Pećinci | Cardiovit | Schiller | 1 | 264000
2 | Videolaringoskop | Elita kop |  |  | 1 | 478500
3 | Trhrombocyte shaker 48 | Makler d.o.o Beograd |  |  | 1 | 358380
4 | Aparat za dijalizu | Fressenius Medical Care Vršac | DEVICE |  | 1 | 1113778.6
5 | Aparat za dijalizu | Fressenius Medical Care Vršac | DEVICE |  | 1 | 1113778.6
6 | Ultrazvučni aparat 4D | Rotary klub Pančevo | ACUSON |  | 1 | 3327600
7 | Microcentrifuga i Fuga | Vicor d.o.o Beograd |  |  | 1 | 18000
8 | Hematološki analizator | Yunicom d.o.o Beograd | Sysmex |  | 1 | 492000
9 | Hematološki analizator | Yunicom d.o.o Beograd | Sysmex |  | 1 | 2000000
10 | Pištolj za biopsiju sa sondom | Medigal d.o.o Beograd | Magnum |  | 1 | 284364
11 | Aparat šajver za artoskop.oper. | Mark Medical d.o.o Beograd | arthrex |  | 1 | 1068000
12 | Ultrazvučni aparat electric-polovni | Medisal d.o.o Beograd |  |  | 1 | 600000
UKUPNO |  |  |  |  | 12 | 11118401.2